## 89037-SOQ
APPENDIX 1
FORM OF TENDER
Contract 89037
Brunette, Coleman, Rochester Watermain Replacements
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref. / (Supplementary Specifications) | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED AMOUNT
GENERAL
1 | 01 55 00S | TRAFFIC CONTROL
1.01 | ( 1.5.1 ) | Traffic Control and Management | Incidental to Contract
2 | 01 58 01S | PROJECT IDENTIFICATION
2.01 | ( 1.3.1 ) | Construction Zone Information Signs | ea. | 6 |  | 0
BRUNETTE & COLEMAN
3 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
3.01 | ( 1.4.3 ) | Remove and Replace Concrete Curb - (COQ-C6) | l.m | 19 |  | 0
3.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk (100mm) | sq.m | 11 |  | 0
4 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
4.01 | 1.10.3 | Overexcavation (Provisional) | cu.m | 40 |  | 0
4.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 375 |  | 0
4.03 | (1.10.10) | Hydro Excavation (Provisional) | Allowance |  |  | 20000
4.04 | (1.10.11) | Remove and Replace Retaining Walls (All Types) (Provisional) | Allowance |  |  | 8000
5 | 32 01 16.7S | COLD MILLING
5.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 718 |  | 0
6 | 32 12 13.1 | ASPHALT TACK COAT
6.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 718 |  | 0
7 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
7.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 718 |  | 0
8 | 33 11 01S | WATERWORKS
8.01 | (1.8.2) | 200mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 371 |  | 0
8.02 | (1.8.3.1) | 150mm Gate Valves | ea. | 1 |  | 0
8.03 | (1.8.3.1) | 200mm Gate Valves | ea. | 4 |  | 0
8.04 | (1.8.3.1) | Tee - 200mm x 200mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
8.05 | (1.8.3.1) | Tee - 200mm x 200mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
8.06 | (1.8.3.1) | Bend - 200mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 6 |  | 0
8.07 | (1.8.3.1) | Bend - 200mm 22.5° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
8.08 | (1.8.3.1) | Reducer - 200mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
8.09 | (1.8.3.2) | Remove Existing Valve Boxes & Risers Outside of Other Excavations | ea. | 1 |  | 0
8.1 | (1.8.3.3) | Removal of Existing Hydrants | ea. | 1 |  | 0
8.11 | (1.8.4.1) | 50mm Water Service Connection (COQ-W2e) w/ Municipex and #10 AWG Tracer Wire | m | 140 |  | 0
8.12 | (1.8.4.1) | Supply & Install Terminal City Nelson type valve box c/w lid marked "Water"; including precast concrete boxs and meter setter as per Coquitlam Water Meter Specifications detail drawing WM-3 c/w spool piece in place of meter. (do not provide or install meter) | ea. | 14 |  | 0
8.13 | (1.8.4.2) | Transfer 19mm Existing Water Service to new main (Coq-W2b-1 or Coq-W2b-2) | ea. | 9 |  | 0
8.14 | (1.8.14) | Blow-off Assembly and Chamber (COQ-W8) | ea. | 1 |  | 0
8.15 | (1.8.15) | New Fire Hydrant Assembly | ea. | 1 |  | 0
8.16 | (1.8.16) | Watermain tie-in including capping (to ex.150mm) | ea. | 3 |  | 0
ROCHESTER & LEBLEU
9 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
9.01 | ( 1.4.3 ) | Remove and Replace Concrete Curb - (COQ-C6) | l.m | 23 |  | 0
9.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk (100mm) | sq.m | 21 |  | 0
9.03 | (1.4.5) | Remove and Replace Concrete Driveway (190mm thick) - Brushed Finish | sq.m | 17 |  | 0
9.04 | (1.4.5) | Remove and Replace Concrete Driveway (190mm thick) - All Other Finishes | sq.m | 23 |  | 0
10 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
10.01 | 1.10.3 | Overexcavation (Provisional) | cu.m | 40 |  | 0
10.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 820 |  | 0
10.03 | (1.10.10) | Hydro Excavation (Provisional) | Allowance |  |  | 10000
10.04 | (1.10.11) | Remove and Replace Retaining Walls (All Types) | Allowance |  |  | 8000
11 | 32 01 16.7S | COLD MILLING
11.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 1509 |  | 0
12 | 32 12 13.1 | ASPHALT TACK COAT
12.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 1509 |  | 0
13 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
13.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 1509 |  | 0
14 | 33 11 01S | WATERWORKS
14.01 | (1.8.2) | 150mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 78 |  | 0
14.02 | (1.8.2) | 200mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 29 |  | 0
14.03 | (1.8.2) | 250mm Class 50 DI Watermain (V-Bio Encased) (TR Flex or Tyton c/w Approved Joint Retraints) | l.m | 704 |  | 0
14.04 | (1.8.3.1) | 150mm Gate Valves | ea. | 5 |  | 0
14.05 | (1.8.3.1) | 200mm Gate Valves | ea. | 1 |  | 0
14.06 | (1.8.3.1) | 250mm Gate Valves | ea. | 2 |  | 0
14.07 | (1.8.3.1) | Tee - 150mm x 150mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
14.08 | (1.8.3.1) | Tee - 250mm x 250mm x 150mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.09 | (1.8.3.1) | Cross - 250mm x 250mm x 200mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 1 |  | 0
14.1 | (1.8.3.1) | Bend - 200mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.11 | (1.8.3.1) | Bend - 250mm 45° DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 4 |  | 0
14.12 | (1.8.3.1) | Reducer - 250mm x 200mm DI (TR Flex or Tyton c/w Approved Joint Retraints) | ea. | 2 |  | 0
14.13 | (1.8.3.3) | Removal of Existing Hydrants | ea. | 2 |  | 0
14.14 | (1.8.4.1) | 50mm Water Service Connection (COQ-W2e) w/ Municipex and #10 AWG Tracer Wire | m | 244 |  | 0
14.15 | (1.8.4.1) | Supply & Install Terminal City Nelson type valve box c/w lid marked "Water"; including precast concrete boxs and meter setter as per Coquitlam Water Meter Specifications detail drawing WM-3 c/w spool piece in place of meter. (do not provide or install meter) | ea. | 26 |  | 0
14.16 | (1.8.4.2) | Transfer 19mm Existing Water Service to new main (Coq-W2b-1 or Coq-W2b-2) | ea. | 44 |  | 0
14.17 | (1.8.5) | Air Valve Assembly, Chamber and Vent (COQ-W6) | ea. | 2 |  | 0
14.18 | (1.8.15) | New Fire Hydrant Assembly | ea. | 2 |  | 0
14.19 | (1.8.15) | New Fire Hydrant Lead DI (Re-Use Ex. Hydrant Body) | m | 6 |  | 0
14.2 | (1.8.16) | Watermain tie-in including capping (to ex. 150mm) | ea. | 2 |  | 0
14.21 | (1.8.16) | Watermain tie-in including capping (to ex. 200mm) | ea. | 4 |  | 0
14.22 | (1.8.16) | Watermain tie-in including capping (to ex. 250mm) | ea. | 2 |  | 0
| Name of Contractor:_______________________________________ |  |  |  | Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)

## GL Allocation (hidden)
Contract 77803B
Quadling Avenue Frontage Improvements
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers – Part II)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail) | [8 empty] | 2000000 | 339153.07 | 558769.39 | 787828.84 | 400000 | 4085751.3
[8 empty] | 2017 | 1000000 | 89153.07 | 8769.39 | 287828.84
ITEM NO. | MMCD Ref./ (Supp. Specs) |  | DESCRIPTION | UNIT | QTY | UNIT PRICE | EXTENDED AMOUNT | 2018 | 1000000 | 250000 | 550000 | 500000 | 400000
1 | 01 55 00 | TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING | [6 empty] | Frontage Works Program | Sewer Structural Repair | Storm Sewer Structural Rehabilitation | Inflow & Infiltration | Watermain Replacement at Quadling
1.01 | SS - 1.5.1 | Traffic Control and Management |  |  |  |  | Incidental to Contract |  | 77803 | 85250 | 81340 | 83441 | 89026
2 | 01 57 01 | ENVIRONMENTAL PROTECTION
2.01 | ( 1.6.1 ) | Environmental Protection |  |  |  |  | Incidental to Contract
3 | 01 58 01 | PROJECT IDENTIFICATION
3.01 | ( 1.3.1 ) | Construction Zone Information Signs |  |  |  |  | Incidental to Contract
4 | 03 30 20 | CONCRETE WALKS, CURBS AND GUTTERS
4.01 | ( 1.4.3 ) | Concrete Curb & Gutter - Wide Base – MMCD C5 |  | l.m | 760 | 99 | 75240 | 75240 | 75240
4.02 | ( 1.4.5 ) | Concrete Sidewalk & Walkways & Wheelchair Letdown - 100mm thick – Broom Finished |  | sq.m | 970 | 87 | 84390 | 84390 | 84390
4.03 | (1.4.5) | Concrete Driveway Letdown, Sidewalk Crossing, and Driveways - COQ-C7 & COQ-C7B |  | sq.m | 510 | 120 | 61200 | 61200 | 61200
4.04 | (1.4.10) | Tactile Strip - 24x48 in - Yellow color - Removable Type (Provisional) |  | ea. | 6 | 560 | 3360 | 3360 | 3360
5 | 03 30 53 | CAST-IN-PLACE CONCRETE
5.01 | 1.5.4 | 1.5m wide Concrete stairs(includes wide wing wall as required) (Provisional) |  | l.m | 20 | 1500 | 30000 | 30000 | 30000
6 | 03 40 01 | PRECAST CONCRETE
6.01 | (1.4.6) | Allan Block Retaining Wall (Includes excavation, gravel, backfill, capstone) |  | sq.m | 30 | 530 | 15900 | 15900 | 15900
7 | 26 56 01 | ROADWAY LIGHTING
7.01 | 1.9.2 | Supply & installation of Roadway & Pedestrian Lighting (ALL) Works including any removal, adjustments and disposal needed to complete the work and as shown on the Contract Drawing |  | l.s. | 1 | 60000 | 60000 | 60000 | 60000
7.02 | (1.9.4) | Ducts (Empty c/w strings, caps on both ends); Telus & Shaw to supply their own rpvc ducts |  | l.s. | 1 | 43000 | 43000 | 43000 | 43000
8 | 31 11 01 | CLEARING AND GRUBBING
8.01 | ( 1.4.1 ) | Clearing & grubbing |  | l.s. | 1 | 14500 | 14500 | 14500 | 14500
9 | 31 24 13 | ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
9.01 | (1.8.4 ) | Removal and disposal of Existing Asphalt (all Depths), concrete, or sidewalks |  | sq.m | 3960 | 7.15 | 28314 | 28314 | 28314
9.02 | (1.8.4) | Removal of Existing Concrete Curb |  | l.m | 35 | 13 | 455 | 455 | 455
9.03 | (1.8.5 ) | Common Excavation including Off Site Disposal |  | cu.m | 2500 | 38 | 95000 | 95000 | 95000 |  |  |  |  | 95000 | 39900
9.04 | 1.8.7 | Imported Fill (75mm Minus) (Provisional) |  | tonne | 200 | 30 | 6000 | 6000 | 6000 |  |  |  |  | 6000 | 6000
10 | 32 11 16.1 | GRANULAR SUBBASE
10.01 | ( 1.4.3 ) | 75mm Minus Granular Sub Base, 300mm (Provisional) |  | tonne | 900 | 29 | 26100 | 26100 | 26100 |  |  |  |  | 26100 | 10962
11 | 32 11 23 | GRANULAR BASE
11.01 | ( 1.4.3 ) | 25mm Minus Granular Base, variable thickness |  | tonne | 1250 | 27 | 33750 | 33750 | 33750 |  |  |  |  | 33750 | 14175
12 | 32 12 16 | HOT-MIX ASPHALT CONCRETE PAVING
12.01 | ( 1.5.1 ) | Asphaltic Concrete Paving - Upper Course #1 (75mm, 1 lift) |  | tonne | 700 | 118 | 82600 | 82600 | 82600 |  |  |  |  | 82600 | 34692
12.02 | (1.5.3) | Asphaltic Concrete Paving - Driveways - Upper Course #2 (50mm, 1 lift) |  | tonne | 80 | 320 | 25600 | 25600 | 25600 | [5 empty] | 105729
12.03 | 1.5.4 | Asphalt Drainage Curb - 150mm High |  | l.m | 32 | 30 | 960 | 960 | 960
13 | 32 17 23 | PAINTED PAVEMENT MARKINGS
13.01 | (1.5.3) | Supply & Installation Thermoplastic Pavement Markings |  | l.s. | 1 | 15000 | 15000 | 15000 | 15000
13.02 | (1.5.4) | Remove and Reinstate existing signage |  | l.s. | 1 | 5000 | 5000 | 5000 | 5000
14 | 32 31 13 | CHAIN LINK FENCES AND GATES
14.01 | 1.5.4 | Handrails, powder-coated black (Provisonal) |  | l.m | 20 | 500 | 10000 | 10000 | 10000
15 | 32 91 21 | TOP SOIL AND FINISH GRADING
15.01 | (1.4.1) | Imported Topsoil - 150mm Thick for Sod |  | cu.m | 330 | 87 | 28710 | 28710 | 28710
15.02 | (1.4.1) | Boulevard Tree Trench - includes excavation, backfill, growing medium(not paid where Boulevard Retention Trench is installed) |  | l.m | 180 | 145 | 26100 | 26100 | 26100
16 | 32 92 23 | SODDING
16.01 | (1.8.1) | Sodding |  | sq.m | 2500 | 8 | 20000 | 20000 | 20000
17 | 32 93 01 | PLANTING OF TREES, SHRUBS, AND GROUND COVERS
17.01 | (1.9.1) | Boulevard Tree - Catalpa Bignonioides 'Aurea" (Golden Catalpa), 7cm cal. |  | ea. | 12 | 900 | 10800 | 10800 | 10800
17.02 | (1.9.1) | Boulevard Tree - Cornus x Aurora (Aurra Dogwood), 7cm cal. |  | ea. | 10 | 850 | 8500 | 8500 | 8500
17.03 | (1.9.1) | Boulevard Tree - Magnolia x Galaxy (Galaxy Magnolia), 7cm cal. |  | ea. | 10 | 800 | 8000 | 8000 | 8000
17.04 | (1.9.1) | Boulevard Tree - Stewartia Pseudocamellia (Japanese Stewartia), 7cm cal. |  | ea. | 5 | 850 | 4250 | 4250 | 4250
17.05 | (1.9.1) | Boulevard Tree - Parrotia Persica 'Inges Ruby Vase’ (Ruby Vase Persian Ironwood), 7cm cal. |  | ea. | 9 | 900 | 8100 | 8100 | 8100
18 | 33 11 01 | WATERWORKS
18.01 | (1.8.2) | 150mm Class 50 DI Watermain |  | l.m | 418 | 282 | 117876 | 117876 |  |  |  |  | 117876
18.02 | (1.8.2) | Water valve box (T.C Nelson box); includes 150mm SDR35 PVC riser pipe - (Provisional) |  | ea. | 20 | 150 | 3000 | 3000 |  |  |  |  | 3000
18.03 | (1.8.3) | 150mm Gate Valves |  | ea. | 7 | 1100 | 7700 | 7700 |  |  |  |  | 7700
18.04 | (1.8.3) | 150mm Tees |  | ea. | 4 | 380 | 1520 | 1520 |  |  |  |  | 1520
18.05 | (1.8.3) | 150mm 45° Bend |  | ea. | 3 | 250 | 750 | 750 |  |  |  |  | 750
18.06 | (1.8.3) | 150mm Mechanical Coupling |  | ea. | 3 | 300 | 900 | 900 |  |  |  |  | 900
18.07 | 1.8.9 | Thrust Blocks (All Sizes) |  | ea. | 11 | 220 | 2420 | 2420 |  |  |  |  | 2420
18.08 | (1.8.4) | 19mm Water Service Connection (COQ-W2B) - Long Side |  | ea. | 25 | 4100 | 102500 | 102500 |  |  |  |  | 102500
18.09 | (1.8.4) | 19mm Water Service Connection (COQ-W2B) - Short Side |  | ea. | 31 | 3500 | 108500 | 108500 |  |  |  |  | 108500
18.1 | (1.8.4) | Transfer Existing Water Service to New Main |  | ea. | 7 | 2000 | 14000 | 14000 |  |  |  |  | 14000
18.11 | (1.8.7) | Temporary Blowoff and Test Point |  | ea. | 3 | 3400 | 10200 | 10200 |  |  |  |  | 10200
18.12 | (1.8.13) | Watermain Tie-in including tapping tee and valve |  | ea. | 2 | 7200 | 14400 | 14400 |  |  |  |  | 14400
18.13 | (1.8.13) | Cap Existing Watermain (all required cappings) |  | l.s. | 1 | 6400 | 6400 | 6400 |  |  |  |  | 6400
18.14 | (1.8.14) | Fire Hydrant Assembly (Includes thrust block, assembly, lateral, & gate valve) |  | ea. | 3 | 10000 | 30000 | 30000 |  |  |  |  | 30000
19 | 33 30 01 | SANITARY SEWERS
19.01 | (1.6.3) | Service Connections - MMCD S7 - 100mm SDR28 PVC (Provisional) |  | ea. | 2 | 3500 | 7000 | 7000 |  |  |  | 7000
19.02 | (1.6.3.1) | Sanitary Service Connection Repair (Provisional) |  | l.m | 85 | 290 | 24650 | 24650 |  |  |  | 24650
19.03 | (1.6.4) | Inspection Chambers - MMCD S9 |  | ea. | 11 | 1700 | 18700 | 18700 |  |  |  | 18700
20 | 33 40 01 | STORM SEWERS | [5 empty] | 0
20.01 | (1.6.3) | Service Connections - MMCD S8 - 150mm SDR28 PVC (Provisional) |  | ea. | 2 | 1500 | 3000 | 3000 |  |  | 3000
20.02 | (1.6.3.1) | Storm Service Connection Repair (Provisional) |  | l.m | 80 | 280 | 22400 | 22400 |  |  | 22400
20.03 | (1.6.4) | Inspection Chambers - MMCD S9 |  | ea. | 20 | 1700 | 34000 | 34000 |  |  | 34000
20.04 | (1.6.5) | Catch Basin/Lawn Basin Lead - 150mm SDR28 PVC |  | l.m | 53 | 250 | 13250 | 13250 | 13250
20.05 | (1.6.5) | Catch Basin/Lawn Basin Lead - 200mm SDR35 PVC |  | l.m | 78 | 255 | 19890 | 19890 | 19890
20.06 | (1.6.6) | Boulevard Retention Trench - COQ-SW3 (includes excavation, backfill materials, growing medium) |  | l.m | 320 | 180 | 57600 | 57600 | 57600
20.07 | (1.6.6) | Boulevard Retention Trench - Dispersal Piping (includes perf pipe, caps, cleanout, tie-in's to CBs / LBs) |  | ea. | 3 | 3800 | 11400 | 11400 | 11400
20.08 | (1.6.6) | Boulevard Retention Trench - Decant Piping (includes perf pipe, caps, cleanout, trench dam and tie in to C/B) |  | ea. | 3 | 3800 | 11400 | 11400 | 11400
21 | 33 44 01 | MANHOLES AND CATCHBASINS
21.01 | (1.5.2) | Top-Inlet Catch Basin - MMCD S11 |  | ea. | 11 | 2200 | 24200 | 24200 | 24200
21.02 | (1.5.2) | Lawn Basin - MMCD S12 Type 2 |  | ea. | 2 | 1200 | 2400 | 2400 | 2400
21.03 | (1.5.2) | Lawn Basin - MMCD S12 Type 1 |  | ea. | 9 | 800 | 7200 | 7200 | 7200
21.04 | (1.5.3) | Manhole Frame and Lid Replacement & Adjustments |  | ea. | 9 | 1300 | 11700 | 11700 |  |  | 11700
21.05 | 1.5.4 | Removal & Disposal of Catch Basins |  | ea. | 7 | 500 | 3500 | 3500 | 3500
[6 empty] | Total | 1523285
[8 empty] | 1523285 | 981669 | 0 | 71100 | 50350 | 420166
[7 empty] | Construction | 1523285
[7 empty] | Contingency | 158401 | 98166.9 | 0 | 10665 | 7552.5 | 42016.6
[7 empty] | Eng'g Alloc. & inspection | 121926.213 | 77852.313 | 0 | 15174 | 5790.5 | 23109.4
[7 empty] | Eng'g Alloc. & inspection, 2017 | 31145.43 | 31145.43 | 0 | 0 | 0 | 0
[7 empty] | Consultant | 327696.13 | 169486.9 |  | 158196.58
[7 empty] | 85250 transfer to 84311 | 130550 | 0 | 130550 | 0 |  | 0
[7 empty] | 81340 transfer to 84311 | 65510 | 0 | 0 | 65510 | 0 | 0
[7 empty] | 83411 transfer to 84311 | 260570 | 0 | 0 | 0 | 260570 | 0
[7 empty] | Other |  |  |  | 13067.91 | 84077.02
2619083.773
[9 empty] | 1358320.543 | 130550 | 333713.49 | 408340.02 | 485292
[8 empty] | Balance | 641679.457 | 208603.07 | 225055.9 | 379488.82 | -85292
[7 empty] | Construction 77803B | 1523285 | 981669 |  | 71100 | 50350 | 420166
[7 empty] | Contingency | 158400 | 98166.9 |  | 10665 | 7552 | 42016.1
[7 empty] | Eng'g Alloc. & inspection, 10% | 130000 | 101849.1 |  | 3235 | 2098 | 22817.9
[7 empty] | Eng'g Alloc. & inspection, 2017 |  | 31145.43
[7 empty] | Consultant |  | 169500
[7 empty] | Testing |  | 15000
[9 empty] | 1397330.43 |  | 85000 | 60000 | 485000
[7 empty] | Total Funds |  | 2060000 |  | 85000 | 60000 | 485000
[7 empty] | Remaining |  | 662669.57
For transfer:
[7 empty] | 11-481-73580 | 73580 | 60000 |  |  | 60000
[7 empty] | 21-473-81340 | 81340 | 96939 |  |  | 85000
[7 empty] | 21-463-83441 | 83441 | 63693 |  |  | 60000
[8 empty] | road paving | 105729 | 326361 | 2000000
[7 empty] | 31-467-89010 | 89010 to 89026 | 85292 | 85292 | 400000 | 85000
[8 empty] | Total: | 411653 | 411653 | 2400000 | 290000
[9 empty] | Frontage Works Program | Sewer Structural Repair | Storm Sewer Structural Rehabilitation | Inflow & Infiltration | Watermain Replacement at Quadling
[8 empty] | GL | 11-482-77803 | 85250 | 21-473-81340 | 21-463-83441 | 31-467-89026
[8 empty] | Construction | 981669 | 0 | 71100 | 50350 | 420166 | 1523285
[8 empty] | Scope/Quantity Variation | 98166.9 | 0 | 10665 | 7552 | 42016.1 | 158400
[8 empty] | Total | 1079835.9 | 0 | 81765 | 57902 | 462182.1
[9 empty] | Frontage Works Program | Storm Sewer Structural Rehabilitation | Inflow & Infiltration | Watermain Replacement at Quadling
[8 empty] | GL | 11-482-77803 | 21-473-81340 | 21-463-83441 | 31-467-89026
[8 empty] | Construction | 981669 | 71100 | 50350 | 420166 | 1523285
[8 empty] | Scope/Quantity Variation | 98166.9 | 10665 | 7552 | 42016.1 | 158400
[8 empty] | Total | 1079835.9 | 81765 | 57902 | 462182.1 | 1681685